## Slide 1: The Challenge:
With a goal to keep all the Desalination units up running to meet the increased water demand and the management noticing that there are abnormal high-pressure readings noted in the Surjek location, management is on alert to control operational costs and prevent untimely asset failure which will lead to loss of revenues and wants to perform a statistical analysis of previous Desalination Pump Failure Data to understand what variables may drive an asset failure.

## Slide 2: Boxplots with all variables for pump failure data
In comparison of the box plots with and without pump failure, it looks like the Surjek Pump Torque and the Maximum Daily Pump Torque stand out during the pump failure.

## Slide 3: Box plot with Outliers removed
Data with the Pump Failure = 1 is removed as outliers. Hence, there is one plot after removing the outliers.

## Slide 4: Plotted Rolling Standard Deviation
Chart: Plotted Rolling StdDev
From the plotted Rolling Standard Deviation, Surjek Pump Torque and Maximum Daily Pump Torque seems to stand out and have a correlation with the time of pump failure.

## Slide 5: Correlation between the Desalination unit variables resulting in the Pump Failure
All the variables except for Surjek Flow meter 1 and Surjek Pump Torque have a correlation less than 0.5 and hence can produce a good regression model

## Slide 6: The Conclusion:
After performing the Descriptive and Inferential Statistics on the previous pump failure data, we notice that Southern Water Corp needs to pay more attention to the Surjek Pump Torque and Maximum Daily Pump Torque as these variables had drastic deviations from their usual readings during the Pump failure.